Spin-Clean Filters

Vortex Filters

Description

The filters are placed between the pump and dripfield to screen out any debris.  The Spin-Clean type filter is most commonly used with E-Z Set Drip systems.  (Other filters are available).

Body – Two-piece threaded housing with O-ring seal.  Molded from high heat ABS and chemical resistant glass reinforced plastic.

Screen - Sintered stainless steel.  Sintering is a process in which three pieces of stainless steel mesh are transformed into one; a perforated plate, 30m then 150 mesh. Screen collars molded from vinyl for long life and durability.

Spin Plate - Directional spin plate is molded of PVC or fiberglass.

Vortex Spin Action - Incoming water is forced through a directional nozzle plate onto the inside of the stainless steel screen.  A centrifugal motion starts inside the screen chamber, throwing particles outward against the screen.  Gravity, moves the debris down the screen wall to the ¾” flush outlet at the base of the filter.

To stay clean, the filter flush valve must be partially to fully open allowing debris to flush away.  This can be done with continuous or automatic flushing.

| Item Number | Size (MPT) | Max. Flow (GPM) | Max. Pressure | Width | Height | Size of flush port | Area of filtration (sq. inches) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AP4E-1 | 1” | 15gpm | 80 psi | 6” | 7” | ¾” MPT | 23.4 |
| AP4E-1.5 | 1.5” | 45gpm | 100 psi | 12” | 15.5” | ¾” MPT | 60.8 |
| AP4E-2 | 2.0” | 70gpm | 80 psi | 12” | 16” | ¾” MPT | 60.8 |

Note:  Filters can be used in parallel to deliver higher flow rates and/or decrease pressure loss through the filters.

Specifications:

1” Filter:

The Y filter body shall be molded from glass reinforced engineering grade black plastic with a 1 inch male pipe thread (MIPT) inlet and outlet.  The two piece body shall be capable of being serviced by untwisting and shall include an O-ring seal.  An additional 3/4 inch MIPT outlet shall be capable of periodic flushing.  The 150 mesh filter screen is all stainless steel, providing a 28.4 square inch filtration area.  The screen collar shall be molded from vinyl. The 1” filter shall be E-Z Set Drip Spin-Clean filter model number AP4E-1.

1.5” Filter:

The Y filter body shall be molded from glass reinforced engineering grade black plastic with a 1.5 inch male pipe thread (MIPT) inlet and outlet.  The two piece body shall be capable of being serviced by unscrewing and shall include an O-ring seal.  An additional 3/4” MIPT outlet shall be capable of periodic flushing.  The 150 mesh filter screen is all stainless, providing a 60.8 square inch filtration area.  The outer support shell shall be woven stainless steel wire, and the inner screen shall be made of stainless steel cloth.  The inner and outer screens shall be soldered together.  The screen collar shall be molded from vinyl. The 1 ½” filter shall be E-Z Set Drip Spin-Clean filter model number AP4E-1.5.

2” Filter:

The Y filter body shall be molded from glass reinforced engineering grade black plastic with a 2 inch male pipe thread (MIPT) inlet and outlet.  The two piece body shall be capable of being serviced by unscrewing and shall include an O-ring seal.  An additional 3/4” MIPT outlet shall be capable of periodic flushing.  The 150 mesh filter screen is all stainless, providing a 60.8 square inch filtration area.  The outer support shell shall be woven stainless steel wire, and the inner screen shall be made of stainless steel cloth.  The inner and outer screens shall be soldered together.  The screen collar shall be molded from vinyl. The 2” filter shall be E-Z Set Drip Spin-Clean filter model number AP4E-2.

Pressure loss charts for Spin-Clean filters